Design of a partially polarized calibration stimulus

Gerard van Harten(1), Frans Snik(1), Christoph Keller(1), Jeroen Rietjens (2), Martijn Smit (2)

1 : Leiden Observatory, Leiden University, Niels Bohrweg 2, 2333 CA, Leiden, The Netherlands

2 : SRON Netherlands Institute for Space Research, Sorbonnelaan 2, 3584 CA Utrecht, The Netherlands

Atmospheric aerosols can be remotely characterized using multi-angle spectropolarimetry of the sunlight they scatter.

To study their effects on climate, an accuracy of ~0.001 in the degree of linear polarization (DoLP) is required [Mishchenko et al., 2004; Hasekamp & Landgraf, 2007].

The DoLP can be anything between 0 and 1, so it is not sufficient to calibrate the polarimeter (SPEX in our case) with fully polarized light.

We present the design of a calibration stimulus with a controllable partially polarized output, à la [Mahler & Chipman, 2011].

We discuss the steps to first depolarize and then partially polarize the light, as well as the modeling and experimental verification of the output.

Mishchenko, M. I. et al., "Monitoring of aerosol forcing of climate from space: analysis of measurement requirements", Journal of Quantitative Spectroscopy & Radiative Transfer 88, 149-161 (2004)

Hasekamp, O. P. and Landgraf, J., "Retrieval of aerosol properties over land surfaces: capabilities of multiple-viewing-angle intensity and polarization measurements", Applied Optics 46, 3332-3344 (2007)

Mahler, A.-B. and Chipman, R. A., "Polarization state generator: a polarimeter calibration standard", Applied Optics 50, 1726-1734 (2011)